Lead and nitrate removal from simulated lead- and nitrate- containing wastewater via hydroxide precipitation

Glyzel Ann C. Madlangbayan, Master Student, Mapua University, Philippines

Khyle Glainmer Quiton, Associate Professor, Mapua University, Philippines

Ming-Chun Lu, Distinguished Professor, National Chung Hsing University, Taiwan

Project Number: 111-2221-E-005-015-MY3

Abstract

Lead and nitrate are pollutants that are commonly found in wastewater, and these pollutants in aquatic environments have garnered significant attention due to their adverse impact on the ecosystem and human health. Today, Russia, Canada, and other major gold-producing countries often employ a combination of these two pollutants, called lead nitrate, in the extraction of gold to improve leaching efficiency and recovery. Therefore, it is essential to treat the wastewater to remove these toxic substances. This study utilized hydroxide precipitation for the removal of lead and nitrate from simulated lead- and nitrate-containing wastewater through jar testing. The effects of pH, lead nitrate (Pb(NO3)2) concentration, and precipitant-to-metal ([P]/[M]) ratio were examined. The hydroxide precipitation effectively removed lead and nitrate by forming basic lead nitrate precipitates, such as lead hydroxide nitrates and lead oxide hydroxide nitrates, and operated efficiently at a pH of around 8.0, which is a notable advantage of this system. Lead and nitrate removal was highly effective and primarily influenced by the [P]/[M] ratio, with [P]/[M] of 1.0 as the optimum condition. Varying the lead nitrate concentrations resulted in a higher sludge volume compared to other parameters; however, it was only significant in nitrate removal with an optimum concentration of 0.07 M.

Keywords: lead, nitrate, hydroxide precipitation, basic lead nitrate